## Sheet1
NAME OF FACULTY :- |  | MR. SARVJEET SINGH
DICIPLINE :- |  | CIVIL ENGG.
SEMESTER :- |  | 4TH
SUBJECT :- |  | WSWWE
LESSON PLAN DURATION :- |  | FROM JAN, 2018 to APRIL, 2018
WORK LOAD PER WEEK :- |  | 5 Lecture/week
THEORY
Week | Lecture Day | Topic
Assignment/Test
1st | 1 | Necessity and brief description of water supply system
| 2 | Sources of water – surface/sub-surface sources
| 3 | Water requirement
| 4 | Rate of demand and variation in rate of demand
| 5 | Per capita consumption for domestic
2nd | 6 | industrial, public and fire fighting
| 7 | uses as per BIS standards
| 8 | Population Forecasting
| 9 | Meaning of pure water and methods of analysis of water
| 10 | Physical, Chemical and bacteriological tests and their significance
3rd | 11 | Standard of potable water as per Indian Standard, Maintenance of purity of water
| 12 | Sedimentation - purpose, types of sedimentation tanks
| 13 | Coagulation/floculation - usual coagulation and their feeding
| 14 | Filtration - significance, types of filters, their suitability
| 15 | Necessity of disinfection of water, forms of chlorination
4th | 16 | break point chlorine, residual chlorine, application of chlorine
| 17 | Flow diagram of different treatment units
| 18 | functions of Areation fountain
| 19 | functions of mixer , floculator, classifier
| 20 | functions of slow and rapid sand filters, chlorination chamber
5th | 21 | Different types of pipes - cast iron, PVC
| 22 | steel, asbestos cement, concrete and lead pipes
| 23 | Their suitability and uses, types of joints in different types of pipes
| 24 | Appurtenances: Sluice, air, reflux valves
| 25 | relief valves, scour valves, bib cocks
6th | 26 | stop cocks, fire hydrants
| 27 | water meters their working and uses
| 28 | Setting out alignment of pipes
| 29 | Excavation for laying of pipes and precautions to be taken
| 30 | Handling, lowering and jointing of pipes
7th | 31 | Testing of pipe lines , Back filling
| 32 | Connections to water main
| 33 | Water supply fittings (with sketches) and terminology related to plumbing
| 34 | Purpose of sanitation, Necessity of systematic collection and disposal of waste
| 35 | Definition of terms in sanitary engineering , Collection and conveyance of sewage
8th | 36 | Conservancy and water carriage systems, their advantages and Disadvantages Surface drains : various types, suitability
| 37 | Types of sewage: Domestic, industrial, storm water and its seasonal variation
| 38 | Types of sewerage systems, materials for sewers, their sizes and joints
| 39 | Appurtenance: Location, function and construction features
| 40 | Manholes, drop manholes, tank hole, catch basin, inverted siphon
9th | 41 | flushing tanks grease and oil traps, storm regulators, ventilating shafts
| 42 | Setting out/alignment of sewers
| 43 | Excavations, checking the gradient with boning rods
| 44 | preparation of bedding
| 45 | handling and jointing testing and back filling of sewers/pipes
10th | 46 | Construction of surface drains and different sections required
| 47 | Properties of sewage and IS standards for analysis of sewage
| 48 | Properties of sewage and IS standards for analysis of sewage
| 49 | Physical, chemical and bacteriological parameters
| 50 | General composition of sewage and disposal methods
11th | 51 | Disposal by dilution, Self purification of stream
| 52 | Disposal by land treatment
| 53 | Nuisance due to disposal
| 54 | Meaning and principle of primary and secondary treatment
| 55 | activated sludge process their flow diagrams
12th | 56 | Introduction and uses of screens, grit chambers
| 57 | detritus tanks, skimming tanks, plainsedimentation tanks
| 58 | primary clarifers, secondary clarifers, filters
| 59 | control beds, intermittent sand filters
| 60 | trickling filters, sludge treatment and disposal,
13th | 61 | oxidation ponds (Visit to a sewage treatment plant)
| 62 | Aims of building drainage and its requirements
| 63 | Different sanitary fittings and installations
| 64 | Traps
| 65 | Revision
TEACHER HOD PRINCIPAL